SU-11

Automatic Flusher

PRODUCT TYPE

Adapt to Ceramic Urinal

FEATURES & SPECIFICATIONS

·Polished chrome plated finish

·Solid brass internal waterway construction

·Efficient dual beam infrared sensors

·Multiple field adjustable modes and ranges

·Low battery indicator

·Has been successfully tested over 1.5 million flushes

·Adapts to most existing toilets or urinals

·Uses 4 AA batteries as power supply

·Easy installation, easy care and minimal maintenance

·Incorporates water efficient technology

·Operating Water Pressure: 20 PSI - 80 PSI

·Battery Life: Up to 100, 000 flushes

·Arming Delay: 5 seconds

·Flush Delay: 0.5 seconds-3 seconds

·Sensing Range: 18" - 30"

·Sensor Angle: Adjustable angle

·Water Saver Mode: Flushes after every other use

·Ghost Flush Mode: 24 hour

·Mounting hardware included

PERFORMANCE SPECIFICATION

·Rated Operating Pressure: 20-125 PSI

·Rated Operating Temperature: 40-140° F

·3-Year Battery Life or Approximately 200,000 Uses

WARRANTY

·5-Year Limited Mechanicals Warranty

·3-Year Limited Electronics and Solenoid Warranty

·1-Year Limited Finish Warranty

COMPLIANT TO

·CCC

Yotun Electronic Co. Ltd. offers sanitation hardware for schools, laboratories, hospitals, office buildings, food service, airports and sport facilities.

PHOTOS