Dolan Jenner Fiber-Lite 180光纤照明

Fiber-Lite 180 Illuminator

Classic 150 Watt Illuminator

Durable and quiet with the lowest possible vibration levels

Compatible with all Fiber-Light standard and custom fiber optic light guides

产品规格：

灯泡：EKE,21V,150W

(EJV,21V,150W,可选)

灯泡寿命：200小时(当全亮时40小时)

EKE色温，3250 ºK（EJV,3350 ºK,可选）

电压：115V,50/60HZ

220/230V,50/60HZ

亮度控制：Rehoeostat, 50 - 100%

保险丝：2.5A 250V 3AB缓熔(115V)

1.25A 250V 3AG缓熔(230V)

燥音等级：N/A

尺寸：5.87" x 6.5" x 9"

重量：9磅

光纤输入直径：1.00"

Fiber-Lite 180 Illuminator
181-Dual Gooseneck System

| - Durable and quiet with the lowest possible vibration levels - Compatible with all Fiber-Light standard and custom fiber optic light guides |  |
| --- | --- |
| Specifications |  |
| Lamp:; EKE, 21 Volt, 150 Watt (EJV, 21 Volt, 150 Watt, optional). Lamp Life:; 200 Hours at full intensity (40 Hours at full intensity). Color Temperature; EKE, 3250ºK (EJV, 3350ºK, optional). Voltage:; 115 VAC, 50/60 Hz 220/230 VAC, 50/60 Hz. Intensity Control:; Rehoeostat, 50 - 100%. Fuse :; 2.5A 250V 3AB slow blow (115 VAC) 1.25A 250V 3AG slow blow (230 VAC). Noise Level:; N/A. Dimensions:; 5.87" x 6.5" x 9". Weight:; 9.00 Pounds. Fiber Input Diameter; 1.00". Adapters; A-type adapter series. |

Fiber-Lite 180 Illuminator
360-1 RL System

| - Durable and quiet with the lowest possible vibration levels - Compatible with all Fiber-Light stand and custom fiber optic light guides |  |
| --- | --- |
| Specifications |  |
| Lamp:; EKE, 21 Volt, 150 Watt (EJV, 21 Volt, 150 Watt, optional). Lamp Life:; 200 Hours at full intensity (40 Hours at full intensity). Color Temperature; EKE, 3250ºK (EJV, 3350ºK, optional). Voltage:; 115 VAC, 50/60 Hz 220/230 VAC, 50/60 Hz. Intensity Control:; Rehoeostat, 50 - 100%. Fuse :; 2.5A 250V 3AB slow blow (115 VAC) 1.25A 250V 3AG slow blow (230 VAC). Noise Level:; N/A. Dimensions:; 5.87" x 6.5" x 9". Weight:; 9.00 Pounds. Fiber Input Diameter; 1.00". Adapters; A-type adapter series. |

Fiber-Lite 180 Illuminator
Classic 150 Watt Illuminator

| - Durable and quiet with the lowest possible vibration levels - Compatible with all Fiber-Light standard and custom fiber optic light guides |  |
| --- | --- |
| Specifications |  |
| Lamp:; EKE, 21 Volt, 150 Watt (EJV, 21 Volt, 150 Watt, optional). Lamp Life:; 200 Hours (40 Hours at full intensity). Color Temperature; EKE, 3250ºK (EJV, 3350ºK, optional). Voltage:; 115 VAC, 50/60 Hz 220/230 VAC, 50/60 Hz. Intensity Control:; Rehoeostat, 50 - 100%. Fuse :; 2.5A 250V 3AB slow blow (115 VAC) 1.25A 250V 3AG slow blow (230 VAC). Noise Level:; N/A. Dimensions:; 5.87" x 6.5" x 9". Weight:; 9.00 Pounds. Fiber Input Diameter; 1.00". |